## Sheet1
Req. ID | Module | Business Requirement | Functional Requirement | Inputs | Process Flow | Validations | Outputs | Roles | Acceptance Criteria
QM-SET-013 | Calibration Setup | Control measuring equipment | Configure equipment types, calibration intervals and status | Equipment, range, frequency, standard | Register → Schedule → Calibrate → Approve | Calibration due date and certificate | Calibration status | QA, Maintenance | Expired equipment is flagged/blocked as configured
QM-CAL-001 | Calibration Management | Maintain a complete register of all quality-critical measuring equipment. | System shall create an equipment register for gauges, instruments, test devices, laboratory equipment, and reference standards. | Equipment ID, name, type, manufacturer, model, serial number, asset tag, location, owner. | Register equipment → review → approve → activate. | Equipment ID and serial number must be unique; equipment type and owner are mandatory. | Active equipment master record. | Calibration Technician, QA Engineer, Asset Manager. | Every calibration-controlled asset has a unique, searchable equipment record.
QM-CAL-002 | Calibration Management | Classify equipment based on its quality impact. | System shall record equipment category, criticality, measurement range, accuracy, resolution, and intended use. | Equipment type, criticality, range, accuracy, resolution, application. | Create/update equipment profile → review → approve. | Range and accuracy must be defined for measurement equipment; critical equipment requires calibration control. | Equipment classification profile. | Calibration Technician, QA Engineer, Lab Manager. | Equipment can be filtered and controlled by type, criticality, and intended use.
QM-CAL-003 | Calibration Management | Ensure each instrument has an appropriate calibration plan. | System shall maintain calibration frequency, interval, method, tolerance, service provider, and next-due-date calculation. | Equipment ID, calibration interval, method, tolerance, provider, last calibration date. | Configure plan → approve → calculate next due date → activate. | Calibration frequency and tolerance are mandatory for controlled equipment. | Active calibration plan and next calibration due date. | Calibration Technician, QA Manager, Lab Manager. | System automatically calculates the next calibration date from the approved plan.
QM-CAL-004 | Calibration Management | Schedule calibration activities before due dates. | System shall generate calibration schedules and worklists based on due date, criticality, location, and resource availability. | Due date, equipment, location, technician, criticality, calendar. | Daily/periodic scheduler runs → generate due/overdue worklist → assign technician. | Only active calibration-controlled equipment is scheduled; duplicate open calibration tasks are prevented. | Calibration schedule and technician worklist. | Calibration Technician, Calibration Coordinator, Lab Manager. | All instruments due within the configured planning horizon appear in the calibration schedule.
QM-CAL-005 | Calibration Management | Notify users of upcoming and overdue calibrations. | System shall send reminders and escalations before due dates and when equipment becomes overdue. | Equipment ID, due date, alert threshold, owner, escalation matrix. | Due-date threshold reached → notify owner/technician → escalate overdue item → log notification. | Alert and escalation recipients must be configured and active. | Reminder, escalation log, overdue-calibration alert. | Calibration Technician, Equipment Owner, QA Manager, Department Manager. | Reminders and escalations are sent according to configured timelines.
QM-CAL-006 | Calibration Management | Prevent use of overdue or invalid equipment. | System shall automatically set equipment status to Due, Overdue, Blocked, In Calibration, Active, or Retired. | Equipment ID, calibration status, due date, inspection/work-order usage. | Due date passes or calibration begins → update status → restrict use until restored. | Overdue, blocked, retired, or in-calibration equipment cannot be selected in inspections. | Updated equipment status and usage restriction. | Quality Inspector, Lab Analyst, Calibration Technician, System Administrator. | System blocks result entry or inspection completion using invalid equipment.
QM-CAL-007 | Calibration Management | Record calibration execution and test results. | System shall create calibration records linked to equipment, work order, method, technician, standard, and measured results. | Equipment, calibration date, technician, method, reference standard, as-found/as-left results. | Start calibration → record as-found values → adjust if required → record as-left values → submit. | Technician, method, reference standard, and results are mandatory; reference standard must be valid. | Calibration execution record. | Calibration Technician, External Calibration Provider, Lab Manager. | Each calibration event has complete traceable as-found and as-left results.
QM-CAL-008 | Calibration Management | Confirm whether equipment is within tolerance. | System shall compare calibration results against approved tolerances and determine Pass, Fail, Conditional, or Out-of-Tolerance status. | Measured values, tolerance limits, target values, uncertainty if applicable. | Enter results → evaluate against tolerance → determine status → route workflow. | Results must use defined UOM; limits must be valid; all mandatory test points are required. | Calibration decision and equipment status. | Calibration Technician, QA Engineer. | System automatically identifies equipment that is out of tolerance.
QM-CAL-009 | Calibration Management | Control adjustment and repair of failed equipment. | System shall record adjustment, repair, maintenance, and post-repair calibration requirements. | Failure details, adjustment/repair action, vendor, cost, completion date, retest result. | Calibration fails → block equipment → repair/adjust → recalibrate → approve return to service. | Failed equipment cannot return to active use without passing post-repair calibration. | Repair history and re-calibration record. | Calibration Technician, Maintenance Team, External Vendor, QA Manager. | Equipment remains blocked until successful recalibration and approval.
QM-CAL-010 | Calibration Management | Assess quality impact of out-of-tolerance equipment. | System shall initiate an out-of-tolerance (OOT) assessment for inspections, tests, and production records completed since the last valid calibration. | Equipment, OOT date, last valid date, affected inspections/work orders/batches, risk assessment. | Calibration fails → identify affected records → assess impact → define containment → approve disposition. | OOT assessment is mandatory for failed critical equipment; affected period must be calculated. | OOT investigation and impact-assessment report. | QA Engineer, Calibration Technician, Production Manager, QA Manager. | System identifies potentially affected lots/results and retains a documented disposition.
QM-CAL-011 | Calibration Management | Contain potentially affected product after an OOT finding. | System shall place impacted lots, batches, inspection records, or released goods on quality hold when required by risk assessment. | Affected batch/lot, quantity, customer status, hold reason, OOT reference. | OOT identified → assess impact → apply hold → reinspect/release/recall as applicable. | Holds require an OOT reference and authorized disposition. | Quality hold records and affected-product list. | QA Manager, Warehouse Manager, Production Manager, Quality Inspector. | Impacted stock is blocked until OOT assessment and disposition are approved.
QM-CAL-012 | Calibration Management | Maintain valid calibration certificates. | System shall store internal or external calibration certificates linked to the equipment and calibration event. | Certificate number, provider, issue date, expiry/due date, scope, attachment, approval status. | Complete calibration → attach certificate → verify → approve → retain. | Certificate must match equipment serial number, calibration date, and provider; required attachments cannot be missing. | Controlled calibration certificate. | Calibration Technician, Document Controller, QA Manager. | Users can retrieve the current valid certificate directly from the equipment record.
QM-CAL-013 | Calibration Management | Ensure traceability to recognized calibration standards. | System shall record reference standards, standard certificates, traceability chain, validity dates, and uncertainty values. | Reference standard ID, certificate, expiry date, uncertainty, standard authority. | Select reference standard → validate status → use in calibration → retain linkage. | Expired or invalid reference standards cannot be used. | Reference-standard usage and traceability record. | Calibration Technician, Lab Manager, QA Manager. | Every calibration record identifies a valid traceable reference standard.
QM-CAL-014 | Calibration Management | Support external calibration services. | System shall create calibration service requests, track equipment dispatch/receipt, vendor status, cost, certificates, and turnaround time. | Equipment, external provider, service request, dispatch date, expected return date, quotation/cost. | Create service request → send equipment → track status → receive certificate/equipment → verify → reactivate. | Provider must be approved where required; equipment remains unavailable while externally calibrated. | External calibration service record. | Calibration Coordinator, Procurement User, External Vendor, QA Manager. | Equipment status remains “In Calibration” until certificate verification and acceptance are complete.
QM-CAL-015 | Calibration Management | Manage calibration labels and visual status. | System shall generate/record calibration labels showing equipment ID, status, calibration date, due date, and certificate reference. | Equipment ID, status, last calibration date, next due date, label template. | Calibration approved → generate/print label → affix/confirm → log issue. | Label data must match the current approved calibration record. | Calibration label and label-issue log. | Calibration Technician, Equipment Owner. | The current equipment status and due date are available through label/barcode scan.
QM-CAL-016 | Calibration Management | Support temporary equipment usage only through approved control. | System shall manage limited conditional use where a calibration extension or risk-based concession is permitted. | Equipment, justification, risk assessment, extension period, limited use, approvers. | Request extension → assess risk → approve/reject → allow restricted use → expire/close. | Extension requires authorized approval and cannot exceed configured duration; critical equipment may be excluded. | Conditional-use authorization. | Calibration Manager, QA Manager, Authorized Approver. | System permits use only within approved scope and automatically expires the authorization.
QM-CAL-017 | Calibration Management | Maintain equipment location, custody, and lifecycle history. | System shall track current location, custodian, transfer history, status, acquisition date, retirement date, and disposal details. | Equipment ID, location, custodian, transfer request, status, lifecycle dates. | Register → assign location/custodian → transfer/update → retire/dispose. | Equipment must not be transferred while required calibration activity is open unless authorized. | Equipment movement and lifecycle history. | Asset Manager, Calibration Technician, Department Manager. | Users can view current location, custodian, and historical movements of each asset.
QM-CAL-018 | Calibration Management | Ensure only authorized personnel perform calibration approvals. | System shall enforce role-based access for equipment setup, calibration execution, certificate approval, OOT assessment, and equipment release. | User role, plant/lab, equipment category, approval authority. | User initiates action → system validates permission → allow/deny → audit action. | Self-approval is prohibited where segregation of duties applies. | Access decision and approval history. | System Administrator, QA Manager, Lab Manager. | Users can perform only calibration actions assigned to their authorized role.
QM-CAL-019 | Calibration Management | Provide visibility of calibration compliance and equipment risk. | System shall provide reports and dashboards for due/overdue status, completion rate, OOT events, certificate status, calibration cost, and equipment history. | Date range, plant, department, equipment type, status, provider, criticality. | Select filters → aggregate calibration data → view/export/schedule report. | Report totals must reconcile with equipment register and calibration records. | Calibration dashboard, overdue list, OOT report, certificate register. | QA Manager, Lab Manager, Plant Manager, Internal Auditor. | Reports accurately identify all due, overdue, failed, blocked, and conditionally used equipment.
QM-CAL-020 | Calibration Management | Maintain complete auditability of calibration activities. | System shall retain immutable audit trails for equipment setup, schedules, reminders, calibration results, adjustments, certificates, status changes, OOT assessments, releases, and retirements. | User, timestamp, action, old/new values, comments, approval reference. | Transaction action → audit entry created → retain → retrieve for audit. | Audit entries must be immutable and retained according to policy. | Searchable calibration audit trail. | QA Manager, Internal Auditor, System Administrator. | Auditors can reconstruct the full calibration and usage-control history for every equipment asset.